## JB
JUNCTION BOX AND MARSHALLING CONTROL CUBICLE
FORM PD 302,1001
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer / Country
b. | Type / Type of Core |  |  | CT |  | PT |  |  | MC002
c. | Terminal Block
- Manufacturer / Country
- Type / Model / Catalogue No.
| - Rating |  |  |  | V |  |  |  |  | A
- Material
| - Short-Circuit Type |  |  | Yes |  |  | No
| - Suitable for Cable | [8 empty] | mm2
d. | Miniature Circuit Breaker
- Manufacturer / Country
- Type / Model / Catalogue No.
| - Rating |  |  |  | V |  |  |  |  | A
- Auxiliary Switch
- Type / Model / Catalogue No.
e. | Paint
- Manufacturer / Country
- Type
- Color
f. | Enclosure
| - Material |  |  | Stainless Steel |  |  |  | Steel
| - Steel Sheet Thickness | [8 empty] | mm

## DX
DISTRIBUTION TRANSFORMER
FORM PD 111,1001
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE | [5 empty] | SCHEDULE NO.
BIDDER | [5 empty] | ITEM NO.
a. | Manufacturer / Country
b. | Type
c. | Applied Standards
d. | Max. Continuous Rated Capacity | [9 empty] | kVA
e. | Rated Voltage |  | - HV / LV | [7 empty] | kV
f. | Rated Current |  | - HV / LV | [7 empty] | A
g. | Impedance Voltage at Rated Voltage,
| Current, Frequency and 75 °C | [9 empty] | %
h. | Basic Insulation Level (BIL) of Windings
|  |  | - HV Winding | [7 empty] | kV
|  |  | - LV Winding | [7 empty] | kV
|  |  | - Neutral | [7 empty] | kV
i. | Vector Group
j. | Polarity
k. | Off Load Tap Changer
- Manufacturer / Country
- Type / Model No.
|  |  | - Tapping Range |  |  |  |  | % on |  |  | Side
l. | Exciting Current in % of Full Load Current
| at 110 % / 100% / 90% / 80% Rated Voltage | [9 empty] | %
m. | Efficiency with 0.9 Lagging Pf. Load
| at 110 % / 100% / 50% Load | [9 empty] | %
n. | Max. Short Circuit Current which the Transformer
shall be able to withstand
|  | Symmetrical |  | - HV / LV Winding | [6 empty] | kA rms
|  | Asymmetrical |  | - HV / LV Winding | [6 empty] | kA peak
o. | Temperature Rise
|  | - Average Winding / Hottest Spot | [8 empty] | °C
|  | - Insulating Oil | [8 empty] | °C
p. | Insulating Material
|  | Winding Insulation Paper |  |  | - Manufacturer
- Temp. Class
|  | Other Insulating Material |  |  | - Manufacturer
- Temp. Class
q. | Internal Gas Pressure Withstanding of Tank | [9 empty] | kg/cm2
r. | Insulating Oil |  | - Type |  |  |  | Uninhibited |  | Inhibited
- Manufacturer
- Manufacturer Type
- Applied Standard
s. | Bushing |  |  |  |  | HV |  | LV | Neutral
- Manufacturer
- Type (Condenser or Solid)
- Model No.
|  |  | - BIL | [7 empty] | kV
|  |  | - Power Freq. Withstand (Dry) | [7 empty] | kV
|  |  | - Power Freq. Withstand (Wet) | [7 empty] | kV
|  |  | - Rated Current | [7 empty] | A
|  |  | - Creepage Distance | [7 empty] | mm
t. | Cable Terminations
- Manufacturer
- Type / Model / Cat. No.
- Material of External Insulator
|  |  | - Rated Voltage | [7 empty] | kV
|  |  | - Current Rating | [7 empty] | A
|  |  | - BIL | [7 empty] | kV
- Aerial Conductor
|  |  | - Creepage Distance | [7 empty] | mm
- Applied Standard
u. | Total Weight With Oil | [9 empty] | kg
v. | Weight of Oil | [9 empty] | kg
w. | Volume of Oil | [9 empty] | Litres
x. | Overall Length ´ Width ´ Height | [9 empty] | m × m × m
y. | Mounting
z. | Dimension of Base | [9 empty] | m × m
Guaranteed Characteristics
| - No-load Loss at Rated Voltage and Frequency | [9 empty] | W
| - Load Loss at Rated Capacity, Voltage and | [9 empty] | W
Frequency at 75 °C
| - Total Loss at Rated Capacity, Voltage and | [9 empty] | W
Frequency at 75 °C
Important Notice:
The guaranteed characteristics shall be evaluated and included in the bid price for cost evaluation with the rate of
190 baht for each W or part thereof of the guaranteed no-load loss.
69 baht for each W or part thereof of the guaranteed load loss.
If the transformer fail to meet the guaranteed characteristics herein indicated, the price of transformers shall be reduced in accordance with the condition specified in Article : Penalty for Equipment not Meeting Guaranteed Characteristics.

## SA
SURGE ARRESTER
FORM PD 392,393,394,1001
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer / Country
- For SA
- For Supporting Structure
b. | Type / Model / Catalog No.
c. | Applied Standards
d. | Class (Station or Distribution)
e. | Arrester Voltage Rating |  |  |  | kVrms
f. | Duty Cycle Current |  |  |  | kA
g. | Arrester Insulation Withstand
|  | - For BIL / 1 Min Dry / 10 s Wet |  |  | kV
h. | Rated Frequency |  |  |  | Hz
i. | Maximum Continuous Operating Voltage (MCOV) |  |  |  | kVrms
j. | Maximum Equivalent Front-of-wave |  |  |  | kVcrest
Protective Level
k. | Maximum Switching Surge Protective Level |  |  |  | kVcrest
l. | Maximum Discharge Voltage at 5/ 10 / 20 kA |  |  |  | kVcrest
m. | One Minute Energy Absorption Capability |  |  |  | kJ/kV
at Maximum L-G Voltage (45oC Ambient)
n. | Power Frequency Reference Voltage |  |  |  | kVrms
o. | Power Frequency Reference Current |  |  |  | mA peak/ cm2
p. | Leakage Current at
|  | - MCOV |  |  | mA
|  | - Nominal System L-G Voltage |  |  | mA
q. | RIV at 1.05 Max. System L-G Operating Voltage |  |  |  | µV
r. | Creepage Distance of Insulator |  |  |  | mm
s. | Insulator Color
t. | Weight |  |  |  | kg
u. | Discharge Counter
- Manufacturer / Country
- Type / Model
|  | - Minimum Impulse Registration |  |  | A
- Registration Capability per Second
|  | - Indicating Ammeter Scale |  |  | mA peak

## VT
VOLTAGE TRANSFORMER
FORM PD 301.3, 1001
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  |  | SCHEDULE NO.
BIDDER |  |  |  | ITEM NO.
a. | Manufacturer / Country
- For VT
- For Supporting Structure
b. | Type / Model / Catalog No.
c. | Applied Standards
d. | Rated Voltage / Frequency |  |  |  |  | kV/ |  |  | Hz
e. | Maximum Service Voltage | [8 empty] | kV
f. | Insulation Level |  | - 1 Min. Dry / 10 Sec. Wet (50 Hz) |  |  | kV/ |  |  | kV
|  |  | - BIL / BSL |  |  | kV/ |  |  | kV
g. | Creepage Distance of Insulator | [8 empty] | mm
h. | Voltage Ratio
i. | Secondary Voltage Rating (Base on Nominal System Voltage)
|  | - No.1 Secondary Winding | [7 empty] | V
|  | - No.2 Secondary Winding | [7 empty] | V
|  | - No.3 Secondary Winding | [7 empty] | V*
j. | Burden
|  | - No.1 Secondary Winding | [7 empty] | VA
|  | - No.2 Secondary Winding | [7 empty] | VA
|  | - No.3 Secondary Winding | [7 empty] | VA*
|  | - Simultaneous | [7 empty] | VA
|  | - Thermal of No.1/2/3 Secondary Winding |  |  | VA/ |  | VA/ |  |  | VA
k. | Accuracy Class
- No.1 Secondary Winding
- No.2 Secondary Winding
- No.3 Secondary Winding
l. | Total Weight | [8 empty] | kg
m. | Volume of Oil | [8 empty] | Litres
Note: |  | *Secondary winding for ferroresonance suppression (for reference).
Information of the ferroresonance suppression shall be submitted for consideration.

## GIS
SF6 GAS INSULATED SWITCHGEAR (GIS)
FORM PD 170
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE | [6 empty] | SCHEDULE NO
BIDDER | [6 empty] | ITEM NO
a. | GIS Manufacturer / country of origin
GIB Manufacturer / country of origin
b. | Type
c. | Applied standards
d. | General rating
| - Rated voltage | [16 empty] | kV
| - Maximum service voltage | [16 empty] | kV
| - Rated frequency | [16 empty] | Hz
| - Power frequency withstand level | [16 empty] | kV
| - Lightning impulse withstand level | [16 empty] | kV
| - Switching impulse withstand level | [16 empty] | kV
- Rated continuous current
| - Busbars | [16 empty] | A
| - Feeder | [16 empty] | A
- Rated short-time (1s) withstand current for
| main and earthing circuits | [16 empty] | kA
- Rated peak withstand current for main and
| earthing circuits | [16 empty] | kA
e. | Type of enclosure | [6 empty] | Single phase enclosure
Three phase enclosure
f. | Material
- Enclosure
- Conductor
g. | Conductor connecting piece
- Type
- Material
h. | SF6 Gas
| - Compliance to IEC 60376 | [6 empty] | Yes |  |  |  |  | No
- Manufacturer
| - Purity by weight | [16 empty] | %
| - Maximum moisture content | [16 empty] | ppm
Gas Compartments
SF6 pressure information |  |  | Unit | CB | Adjacent CB | Others
[6 empty] | …….. |  | …….. |  |  |  | …….. |  |  | ……..
Rated filling pressure at 20 oC |  |  | Bar | …….. | …….. | …….. |  | …….. |  |  |  | …….. |  |  | ……..
Alarm pressure at 20 oC |  |  | Bar | …….. | …….. | …….. |  | …….. |  |  |  | …….. |  |  | ……..
Minimum functional pressure at 20 oC |  |  | Bar | …….. | …….. | …….. |  | …….. |  |  |  | …….. |  |  | ……..
Design pressure of enclosures |  |  | Bar | …….. | …….. | …….. |  | …….. |  |  |  | …….. |  |  | ……..
Operating pressure of pressure relief device |  |  | Bar | …….. | …….. | …….. |  | …….. |  |  |  | …….. |  |  | ……..
| - Pressure information in table above is given in | [6 empty] | Relative |  |  |  |  | Absolute
| - Internal fault Short-circuit current | [16 empty] | kA
- Weight of SF6 gas filling
| - Complete GIS | [16 empty] | kg
| - The largest compartment | [16 empty] | kg
| - SF6 gas leakage rate | [16 empty] | %/year
(Certified test record shall be submitted together with tender document
during the bidding as an evidence for consideration of evaluation)
i. | Rated supply voltage of closing and opening devices | [16 empty] | Vdc
and auxiliary circuits
j. | Temperature limitations for
| - Gas dew point | [16 empty] | °C
| - Buses and connections | [16 empty] | °C
| - External parts subjected to contact by personnel | [16 empty] | °C
k. | Minimum bay to bay spacing (metal-to-metal) | [16 empty] | mm*
| NB * | If EGAT considers that the specified clearance from bay to bay is inadequate for breaker maintenance, the Bidder shall be responsible for an appropriate and acceptable modification of such clearance without any price increase.
l. | Constructional features
| - Mass of the heaviest transport unit | [16 empty] | kg
| - Length of longest section for transportation | [16 empty] | m
m. | Busducts
- Type
| - Minimum clearance to earth | [16 empty] | mm
| - Span between busbar supports | [16 empty] | mm
| - Inductance | [16 empty] | H/m
| - Capacitance | [16 empty] | pF/m
| - Resistance of enclosure at rated frequency | [16 empty] | W/m
| - Resistance of conductor at rated frequency | [16 empty] | W/m
- Surge impedance
n. | Space Heating
| - Install heating | [16 empty] | W
- Number of heater
| - Rated voltage | [16 empty] | V
Circuit Breaker
a. | Type
b. | Single pole and/or three pole operation
c. | Number of breaks per pole
d. | Alignment of Circuit Breaker | [6 empty] | Vertical |  |  |  |  | Horizontal
e. | Type of interrupter | [6 empty] | Self blast |  |  |  |  | Puffer
Etc.
f. | Applied standard
g. | Rated voltage | [16 empty] | kV
h. | Maximum service voltage | [16 empty] | kV
i. | First pole to clear factor
j. | Power frequency withstand voltage
| - Across open switching device | [16 empty] | kV
| - Phase to earth | [16 empty] | kV
k. | Lightning impulse withstand voltage
| - Across open switching device | [16 empty] | kV
| - Phase to earth | [16 empty] | kV
l. | Switching impulse withstand voltage
| - Between phases | [16 empty] | kV
| - Phase-to-earth and across open switching device | [16 empty] | kV
m. | Frequency | [16 empty] | Hz
n. | Current rating
| - Rated continuous | [16 empty] | A
| - Rated short circuit current at max kV | [16 empty] | kA
| - Limited overload capacity | [16 empty] | A
o. | Interrupting rating
| - Max asymmetrical interrupting current | [16 empty] | kA
| - 1 s short time current | [16 empty] | kA
- Max opening and interrupting time at rated voltage
| - Opening time | [16 empty] | ms
| - Interrupting time | [16 empty] | ms
| - Current at max interrupting time | [16 empty] | A
| - Interrupting time of resistive current | [16 empty] | ms
| - Mechanism stroke | [16 empty] | mm
| - Interrupter stroke | [16 empty] | mm
| - Opening velocity (contact part) | [16 empty] | m/s
p. | Asymmetrical interrupting rating
| - Max asymmetrical interrupting current | [16 empty] | kA
q. | Closing rating
| - Closing and latching current at max kV | [16 empty] | kA
| - Making capacity-peak at max kV | [16 empty] | kA
| - Closing time at rated operations | [16 empty] | ms
| - Closing velocity (contact touch) | [16 empty] | m/s
r. | Capacitive current
| - Rated capacitance current switching | [16 empty] | kA
| - Corresponding to max line length of | [16 empty] | km
- Rated transient overvoltage factor
s. | Temperature rise of contacts at nominal current | [16 empty] | °C
t. | Operating mechanism | [5 empty] | Closing | [5 empty] | Tripping
- Manufacturer type
- Mechanism type (spring, hydraulic, etc)
| - Operating voltage range (min/max) | [7 empty] | / | [5 empty] | / |  |  | Vdc
| - Current rating of coil | [16 empty] | A
| - Command duration | [16 empty] | ms
u. | Reclosing duty cycle
v. | Number of operations between servicing
w. | Rated reclosing time | [16 empty] | ms
x. | Net weight of each breaker | [16 empty] | kg
y. | Weight of SF6 gas filling for each breaker | [16 empty] | kg
z. | Spring charged mechanism
- Model no
| - Motor rating | [10 empty] | W | [5 empty] | Vdc
| - Max charging time at rated voltage | [16 empty] | s
aa. | Air compressor set or hydraulic oil pump
- Manufacturer / country of origin
- Model no
- Number per breaker
| - Capacity of each set | [16 empty] | Litre
| - Operating pressure | [16 empty] | bar
| - Motor rating | [8 empty] | W |  | Phase |  |  |  |  | V |  | Hz
| - Net weight of each set | [16 empty] | kg
| - Overall height | [16 empty] | mm
| - Base dimensions | [15 empty] | mmxmm
ab. | Air storage tank or hydraulic accumulator
- Number per breaker
| - Capacity of each set | [16 empty] | Litre
| - Working pressure | [16 empty] | bar
| - Net weight of each set | [16 empty] | kg
| - Dimensions, diameter x length | [15 empty] | mmxmm
ac. | Stored energy requirements
ad. | Max recharging time after CO operation | [16 empty] | s
Disconnecting Switch
a. | Type
b. | Number of breaks per pole
c. | Applied standard
d. | Rated voltage | [16 empty] | kV
e. | Maximum service voltage | [16 empty] | kV
f. | Power frequency withstand voltage
| - Across isolating distance | [16 empty] | kV
| - Phase-to-earth | [16 empty] | kV
g. | Lightning impulse withstand voltage
| - Across isolating distance | [16 empty] | kV
| - Phase-to-earth | [16 empty] | kV
h. | Switching impulse withstand voltage
| - Across isolating distance | [16 empty] | kV
| - Between phases | [16 empty] | kV
| - Phase-to-earth | [16 empty] | kV
i. | Frequency | [16 empty] | Hz
j. | Rated continuous current | [16 empty] | A
k. | Rated peak withstand current | [16 empty] | kA
l. | Rated short time (1 s) withstanding current | [16 empty] | kA
m. | Type of contact
n. | Material of contact
o. | Thickness of silver on contact surfaces | [16 empty] | mm
p. | Voltage drop across contacts at rated normal current | [16 empty] | mV
q. | Operating mechanism
r. | Operating and control voltage | [16 empty] | Vdc
s. | Motor Drive mechanism
- Model no
| - Motor rating | [10 empty] | W | [5 empty] | Vdc
t. | Operating time
| - Closing (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
| - Opening (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
High Speed Grounding Switch
a. | Type
b. | Rated voltage | [16 empty] | kV
c. | Power frequency withstand voltage
| - Phase to earth | [16 empty] | kV
d. | Lightning impulse withstand voltage
| - Phase to earth | [16 empty] | kV
e. | Switching impulse withstand voltage
| - Phase to earth | [16 empty] | kV
f. | Rated short circuit making current | [16 empty] | kA
g. | Rated short time (1 s) withstand current | [16 empty] | kA
h. | Type of contact
i. | Material of contacts
j. | Thickness of silver on contacts surfaces | [16 empty] | mm
k. | Operating mechanism
l. | Operating and control voltage | [16 empty] | Vdc
m. | Motor Drive mechanism
- Model no
| - Motor rating | [10 empty] | W | [5 empty] | Vdc
n. | Operating time
| - Closing (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
| - Opening (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
Maintenance Grounding Switch
a. | Type
b. | Rated voltage | [16 empty] | kV
c. | Power frequency withstand voltage
| - Phase to earth | [16 empty] | kV
d. | Lightning impulse withstand voltage
| - Phase to earth | [16 empty] | kV
e. | Switching impulse withstand voltage
| - Phase to earth | [16 empty] | kV
f. | Rated short time (1 s) withstand current | [16 empty] | kA
g. | Type and material of contacts
h. | Operating mechanism
i. | Operating and control voltage | [16 empty] | Vdc
j. | Motor Drive mechanism
- Model no
| - Motor rating | [10 empty] | W | [5 empty] | Vdc
j. | Operating time
| - Closing (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
| - Opening (@min./rated/max. voltage) | [9 empty] | / |  |  | / |  |  |  | s
Voltage Transformer
a. | Manufacturer/ Country
b. | Type / Model / Catalog No.
c. | Applied standard
d. | Maximum service voltage | [16 empty] | kV
e. | Rated primary voltage | [16 empty] | kV
f. | Voltage ratio
g. | Secondary voltage rating
- No 1 secondary winding
- No 2 secondary winding
h. | Burden
- No 1 secondary winding
- No 2 secondary winding
- Simultaneous
i. | Accuracy class
Current Transformer
a. | Manufacturer/ Country
b. | Type / Model / Catalog No.
c. | Applied standard
d. | Maximum service voltage | [16 empty] | kV
e. | Rated Primary Current | [16 empty] | A
f. | Rated Secondary Current | [16 empty] | A
g. | No of core
h. | Current ratio
i. | Accuracy class
j. | Continuous thermal current rating factor
Surge Arrester
a. | Manufacturer/ Country
b. | Type / Model / Catalog No.
c. | Applied standard
d. | Maximum service voltage | [16 empty] | kV
e. | Class
f. | Duty cycle current | [16 empty] | kA
g. | Arrester insulation withstand, BIL | [16 empty] | kV
h. | Maximum continuous operating voltage (Uc) | [16 empty] | kV
i. | Maximum equivalent front-of-wave protective level | [16 empty] | kV
j. | Maximum discharge voltage at 5/10/20 kA | [16 empty] | kV
k. | Net weight of each arrester | [16 empty] | kg
Bushing
a. | Manufacturer/ Country
b. | Type / Model / Catalog No.
c. | Applied standard
d. | Maximum service voltage | [16 empty] | kV
e. | Type of internal insulation
f. | Type of external insulation
g. | Nominal specific creepage distance | [16 empty] | mm/kV
h. | Cantilever load | [16 empty] | N
i. | Type of line termination
SF6 Service and Storage Unit
a. Type
b. Compression pressure | [17 empty] | bar
c. Suction rate | [17 empty] | m3/hr.
d. SF6 gas recovery down to | [17 empty] | mbar
e. Vacuum pump rate | [17 empty] | m3/hr.
f. Final vacuum down to | [17 empty] | mbar
SF6 gas filling cart
a. Vacuum pump rate | [17 empty] | m3/hr.
b. Evacuate rate down to | [17 empty] | mbar
c. The weighing scale
- Range | [17 empty] | kg
- Accuracy | [17 empty] | g
d. Pressure reducer for SF6 | [17 empty] | bar
Portable SF6 gas leak detector
a. Sensitivity | [17 empty] | ppmv
b. Accuracy | [15 empty] | % of full scale
c. Digit display | [7 empty] | Yes |  |  |  |  | No
SF6 gas quality measuring device
a. | Moisture content
| - Range of DEW point | [16 empty] | oC
| - Accuracy | [16 empty] | oC
| - Pump back function | [6 empty] | Yes |  |  |  |  | No
b. | SF6 content
| - Range | [15 empty] | % volume
| - Accuracy | [15 empty] | % volume
Gas decomposition tester
a. | SO2
| - Range | [16 empty] | ppmv
| - Acuuracy | [16 empty] | %

## PF
POWER FUSE AND HOOK STICK
FORM PD 251
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Make and Country of Origin
b. | Type/Model/Cat.No
c. | Applied Standards
d. | Rated Maximum Voltage |  |  |  |  | kV
e. | Frequency |  |  |  |  | Hz
f. | Insulator Level
Power Frequency Withstand (Dry), rms
| Terminal-to-Terminal |  |  |  |  | kV
Impulse Withstand (BIL), Peak
| Terminal-to-Terminal |  |  |  |  | kV
g. | Current Rating |  |  |  |  | A
h. | Rated Interrupting rms Symmetrical Current |  |  |  |  | kA
i. | Mounting Position
j. | Insulator
| - Make/Type |  | /
- Manufacturer Reference No
- NEMA Technical Reference No
| - Impulse Withstand (BIL) |  |  |  |  | kV
| - Creepage Distance |  |  |  |  | mm
- Mechanical Strength
|  | - Cantilever |  |  |  | kg
|  | - Tension |  |  |  | kg
|  | - Mounting Bolt Circle |  |  |  | cm
k. | Rated Continuous Current of Fuse Link or Refill Unit
| - Item No. |  |  | A,Cat.No
| - Item No. |  |  | A,Cat.No
| - Item No. |  |  | A,Cat.No
| - Item No. |  |  | A,Cat.No
l. | Weight per Phase
m. | Make and Country of Origin of Hook Stick

## LCUS
LOAD CENTER UNIT SUBSTATION (LCUS)
FORM PD 434
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Make and Country of Origin
b. | Type
c. | Applied Standards
d. | Circuit Voltage | [6 empty] | V
e. | Frequency | [6 empty] | Hz
f. | Main Bus Current Rating |  |  | A |  |  | A/mm2
g. | Main Circuit Breaker
- Make and Country of Origin
- Type/Model/Cat.No
- Voltage Rating
| - Rated | [6 empty] | V
| - Maximum | [6 empty] | V
- Current Rating
| - Continuous | [6 empty] | A
| - Interrupting | [6 empty] | kA
| - Thermal Setting Range | [6 empty] | A
| - Magnetic Setting Range | [6 empty] | A
| - Control Circuit Voltage | [6 empty] | Vdc
| - Motor Supply Voltage | [6 empty] | Vdc
h. | Branch Circuit Breaker
- Make and Country of Origin
- Type/Model/Cat.No
| - Voltage Rating | [6 empty] | V
| - Frame Rating | [6 empty] | A
| - Trip Rating | [6 empty] | A
| - Interrupting Rating | [6 empty] | kA/V
| - Magnetic Trip Adjustable |  | Yes |  | Yes |  | Yes
|  |  | No |  | No |  | No
i. | Current Transformer
- Make and Country of Origin
| - Accuracy Class | [6 empty] | VA
| - Burden | [6 empty] | D
- Current Ratio
k. | Energy Meter
- Make Country of Origin
- Type
l. | Indicating Meter
- Make Country of Origin
- Type
m. | Relay
- Make Country of Origin
- Type
n. | Dimension of LCUS Board (HxWxD) |  |  |  |  | mm*mm*mm
o. | Sheet Steel Thickness | [6 empty] | mm
p. | Total Weight | [6 empty] | kg

## ORB rev.1
COMMON CUBICLE AND OUTDOOR RECEPTACLE BOX
FORM PD ORB
Apr. 2025
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Make and Country of Origin
b. | Type / Model No
c. | Applied Standards
d. | Cross-section Dimension of bus
| - Neutral Bus |  |  |  | mm*mm
| - Ground Bus |  |  |  | mm*mm
e. | Rated Voltage |  |  |  | V
f. | 3-Pole Main Breaker
- Make/Type
| - Trip Rating/Max Voltage |  |  |  | A/V
| - Frame Rating |  |  |  | A
| - Interrupting Rating |  |  |  | kA
g. | Earth Leakage Circuit Breaker
- Make/Type
| - Trip Rating/Max Voltage |  |  |  | A/V
| - Frame Rating |  |  |  | A
| - Interrupting Rating |  |  |  | kA
| - Sensitivity |  |  |  | mA
h. | Terminal Block
- Manufacturer / Country
- Type / Model / Catalogue No.
| - Rating |  | V/ |  | A
- Material
| - Short-Circuit Type |  | Yes | No
| - Suitable for Cable |  |  |  | mm2
i. | Power Receptacle
- Make/Type
- No of Phase/No of Wire
| - Rated Current/Voltage |  |  |  | A/V
j. | Receptacle
- Make/Type
| - Rated Current/Voltage |  |  |  | A/V
k. | Outdoor Receptacle Box Dimensions
| - CCM type 1 |  |  |  | mm×mm×mm
| - CCM type 2 |  |  |  | mm×mm×mm
| - ORB1 |  |  |  | mm×mm×mm
| - ORB2 |  |  |  | mm×mm×mm
| - ORB3 |  |  |  | mm×mm×mm
l. | Sheet Steel Thickness
| - CCM type 1 |  |  |  | mm
| - CCM type 2 |  |  |  | mm
| - ORB1 |  |  |  | mm
| - ORB2 |  |  |  | mm
| - ORB3 |  |  |  | mm
m. | Total Weight
| - CCM type 1 |  |  |  | kg
| - CCM type 2 |  |  |  | kg
| - ORB1 |  |  |  | kg
| - ORB2 |  |  |  | kg
| - ORB3 |  |  |  | kg

## LBS
LOAD BREAK SWITCH AND FUSE
FORM PD LBSW
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
Panel Assembly Manufacturer / Country
A. LOAD BREAK SWITCH
a. | Make and Country of Origin
b. | Type/Model/Cat. No
c. | Applied Standards
d. | Rated Voltage | [5 empty] | kV
e. | Maximum Service Voltage | [5 empty] | kV
f. | Basic Impulse Voltage | [5 empty] | kV
g. | Current Rating
- Main Switch
|  | - Rated normal current |  |  |  |  | A
|  | - Rated short time withstand current (1 s) |  |  |  |  | kA
|  | - Rated peak withstand current |  |  |  |  | kA
- Grounding Switch
|  | - Rated short time withstand current |  |  |  |  | kA
|  | - Rated peak withstand current |  |  |  |  | kA
h. | Phase Spacing | [5 empty] | mm
i. | Tripping Device Actuated by Striker Pin |  |  | Yes |  | No
j. | Number of Auxiliary Switch
k. | Have confined arc quenching chamber for |  |  | Yes |  | No
air blow arc quenching
B. POWER FUSE
aa. | Make and Country of Origin
bb. | Type/Model/Cat. No
cc. | Applied Standards
dd. | Rated Voltage | [5 empty] | kV
ee. | Maximum Service Voltage | [5 empty] | kV
ff. | Basic Impulse Voltage | [5 empty] | kV
gg. | Fuse Element Current Rating | [5 empty] | A
hh. | Max Interrupting Rating | [5 empty] | kA
ii. | Power Fuse Support Current Rating | [5 empty] | kA
jj. | Fuse Blow Striker Pin Actuator |  |  | Yes |  | No

## DB
AC & DC DISTRIBUTION BOARD
FORM PD 430
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Make and Country of Origin
b. | Type /Model No
c. | Applied Standards
d. | Main Bus
| - Rated Bus Capacity |  |  |  |  | A
| - Cross-section Dimension of Bus |  |  |  |  | mm*mm
e. | Rated Voltage |  |  |  |  | V
f. | 1-Pole Branch Breaker
| - Make/Type | /
| - Trip Rating/Max Voltage | / | / | / |  | A/V
| - Frame Rating |  |  |  |  | A
| - Interrupting Rating |  |  |  |  | kA
g. | 2-Pole Branch Breaker
| - Make/Type | /
| - Trip Rating/Max Voltage | / | / | / |  | A/Vdc
| - Frame Rating |  |  |  |  | A
| - Interrupting Rating |  |  |  |  | kA
h. | 3-Pole Branch Breaker
| - Make/Type | /
| - Trip Rating/Max Voltage | / | / | / |  | A/V
| - Frame Rating |  |  |  |  | A
| - Interrupting Rating |  |  |  |  | kA
i. | 2-Pole Main Breaker
| - Make/Type | /
| - Trip Rating/Max Voltage | / | / | / |  | A/Vdc
| - Frame Rating |  |  |  |  | A
| - Interrupting Rating |  |  |  |  | kA
j. | 3-Pole Main Breaker
| - Make/Type | /
| - Trip Rating/Max Voltage | / | / | / |  | A/V
| - Frame Rating |  |  |  |  | A
| - Interrupting Rating |  |  |  |  | kA
k. | Kilowatthour Meter
| - Make/Type | /
| - No of Phase/No of Wire/Freq. | / | / | 50 Hz
| - Integration Period of the Maximum |  |  |  |  | min
Demand Meter
| - Maximum Demand Indicator Scale |  |  |  |  | kW
l. | 64B Ground Detector Relay
- Make
- Type
m. | Current Transformer
| - Make/Type | /
- Accuracy Class
| - Burden |  |  |  |  | VA
- Ratio
n. | Distribution Board dimension (HxWxD) |  |  |  |  | mm*mm*mm
o. | Sheet Steel Thickness |  |  |  |  | mm
p. | Total Weight |  |  |  |  | kg

## 125PANEL
125 Vdc POWER PANEL
FORM PD 430.1
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Make and Country of Origin
b. | Type /Model No
c. | Applied Standards
d. | Main Bus
| - Rated Bus Capacity |  |  | A
| - Cross-section Dimension of bus |  |  | mm*mm
e. | Rated Voltage
f. | 2-Pole Molded Case Switch
- Make/Type
| - Current Rating/Max Voltage |  |  | A/Vdc
| - Frame Rating |  |  | A
g. | 2-Pole Molded Case Breaker
- Make/Type
| - Trip Rating/Max Voltage |  |  | A/Vdc
| - Frame Rating |  |  | A
| - Interrupting Rating |  |  | kA
h. | Ammeter
- Make/Type
| - Accuracy (% of full scale) |  |  | %
| - Full Scale Deflection Angle |  |  | degree
I. | Voltmeter (0-150 Vdc)
- Make/Type
| - Accuracy (% of full scale) |  |  | %
| - Full Scale Deflection Angle |  |  | degree
j. | Voltmeter (150-0-150 Vdc)
- Make/Type
| - Accuracy (% of full scale) |  |  | %
| - Full Scale Deflection Angle |  |  | degree
k. | Volmeter Selector Switch (VS)
- Make/Type
| - Voltage Rating |  |  | V
| - Current Rating |  |  | A
l. | Under Voltage Relay (27)
- Make/Type
| - Adjustable Voltage Range |  |  | V
| - Current Rating of Contact |  |  | A
m. | Ground Detector
- Make/Type
| - Current Rating of Contact |  |  | A
n. | Distribution Board Dimensions |  |  | mm*mm*mm
o. | Sheet Steel Thickness |  |  | mm
p. | Total Weight |  |  | kg

## BATT
VENTED STATIONARY BATTERY AND BATTERY CHARGER
FORM PD AB 13
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
VENTED STATIONARY BATTERY
a. | Manufacturer / Country
- Battery
- Battery Rack
- Electrolyte
(Bidder shall submit the certificate issued
by battery manufacturer to certify that the
proposed electrolyte is compatible with the battery.)
b. | Type / Model No. / No. of Cell
c. | Applied Standards
BATTERY CHARGER
a. | Manufacturer / Country
b. | Type / Model No.
c. | Applied Standards
Note :
- Certification of country of origin, production’s lot no. and manufacturing date of the battery certified by
Chamber of Commerce shall be submitted along with the Equipment at the time of shipment.
- The contractor shall provide the rating capacity of the battery and the charger as design calculation approved by EGAT
but not less than the proposed capacity as specified in this proposal without the change of the contract price.

## SS
SUBSTATION STEEL STRUCTURE
FORM PD 803
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer / Country
- Fabrication
- Hot Dip Galvanizing
b. | Applied Standards
- Mild Strength Structural Steel
- High Strength Structural Steel
- Base Plate
- Anchor Bolt
- Steel Pipe
- Step Bolt
- Connection Bolt and Nut
- Filler
- Spring Washer
c. | Galvanizing Coating Weight
- Structural Steel and Steel Plate
Thickness 6 mm and over
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
Thickness under 6 mm
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
- Steel Pipe
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
- All Bolts and Nuts
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
- Washer and Filler
Thickness 5 mm and over
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
Thickness under 5 mm
|  | average |  | g/m2, or |  | mm
|  | minimum |  | g/m2, or |  | mm
Note. In case the materials conforming to EGAT’s drawings are not available in Thailand, the contractor shall submit modification drawings and/or calculation sheet of substitute materials to EGAT for approval before fabrication.

## outdr ter
CABLE TERMINATIONS (for outdoor termination)
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer and Country of Origin
- Cable Terminations
- Manufacturer
- Country of origin
- Steel supporting structure
- Manufacturer
- Country of origin
b. | Type / Model / Cat. NO.
c. | Applied Standard
d. | Material of External Insulator
e. | Creepage Distance |  |  |  |  | mm
f. | Rated Voltage (U0/U/Um) |  | U0 |  | kV
|  |  | U0 |  | kV
|  |  | Um |  | kV
g. | Impulse Withstand Voltage (BIL) |  |  |  |  | kV
h. | Power frequency (Dry) |  |  |  | kV | min
i. | Partial discharge |  |  |  |  | kV
j. | Operating Environments |  |  | Medium Pollution
Heavy Pollution
Extremely Heavy Pollution
k. | Aerial Connector |  |  | 2 x 1 bolt holes NEMA Pad
2 x 2 bolt holes NEMA Pad
2 x 3 bolt holes NEMA Pad
l. | For XLPE Cable Suitability
|  | - Conductor Range | Min |  | mm2 | Max | mm2
|  | - Insulation Diameter (min-max) | Min |  | mm | Max | mm
|  | - Overall Diameter (min-max) | Min |  | mm | Max | mm

## cleat
CABLE CLEATS
PROPOSAL DATA
PROCUREMENT REFERENCE
BIDDER |  |  | SCHEDULE NO.
ITEM NO.
a. | Manufacturer and Country of Origin
- Manufacturer
- Country of origin
b. | Type / Model / Cat. NO.
c. | Applied Standard
d. | Classification according to material [1] |  |  |  | Metallic
| (Definitions comply with IEC 61914) |  |  |  | (consisting of metal only)
Material :
Composite
(consisting of metallic and non-metallic materials)
Material :
and
e. | The peak short circuit current (kA) |  |  |  |  | at cable spacing 0.3 meters
at cable spacing 0.6 meters
at cable spacing 1.2 meters
f. | Formation |  |  | Trefoil |  |  | Flat
g. | For XLPE Cable Suitability
|  | - Overall Diameter Range | Min |  |  | mm. |  | Max | mm.
h. | Weight |  |  |  |  | g.
| Note [1]: | a) Fibre reinforced resin materials are not considered to be composite.
b) Materials include any materials supplied by the manufacturer as part of a cable cleat or intermediate restraint or with a cable cleat or intermediate restraint in the same packaging. This may include fixings such as nuts, bolts, screws, washers, springs and pins.
| Note [2]: | The values shall be based on the same cables and conditions of the test for resistance to electromechanical forces specified in IEC 61914.

## XLPE
XLPE POWER CABLE
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  |  | SCHEDULE NO.
BIDDER |  |  |  | ITEM NO.
a. | Manufacturer and Country of Origin
- Manufacturer
- Country of origin
b. | Type / Model / Cat. NO.
c. | Applied Standard
d. | Voltage Class | [5 empty] | kV
e. | Calculated Cross-Sectional Area of Stranded Conductor | [5 empty] | mm2
- Material of Conductor
- No. of Wires in the Stranded Conductor
|  | - Diameter of Each Wire |  |  |  |  | mm
f. | Outside Diameter of Stranded Conductor | [5 empty] | mm
g. | Outside Diameter of Stranded Conductor with | [5 empty] | mm
Extruded Semi-Conducting Screen
h. | Conductor Screen |  | (Material / Thickness) |  |  | / |  | mm
i. | Insulation |  | (Material / Thickness) |  |  | / |  | mm
j. | Insulation Screen |  | (Material / Thickness) |  |  | / |  | mm
k. | Metal Screen/Sheath |  | (Material / Thickness) |  |  | / |  | mm
l. | Cushion |  | (Material / Thickness) |  |  | / |  | mm
m. | Oversheath (Jacket) |  | (Material / Thickness) |  |  | / |  | mm
n. | Overall Diameter (min-max) |  |  | Min | mm | Max |  | mm
o. | Impulse Withstand Voltage (BIL) | [6 empty] | kV
p. | (1) Ampacity of conductor in Free Air, Flat Formation with Spacing 1 Time Diameter [1] | [6 empty] | A
| (2) Ampacity of conductor for Direct Burial, Flat Formation with Spacing 1 Time Diameter, | [6 empty] | A
Depth of Laying in Ground 0.4 m, Soil Thermal Resistivity 1.2°C-m/watt [1]
q. | Min Bending Radius as a Multiple of Cable Diameter
|  | - During installation |  |  |  |  | Times
|  | - After Installation |  |  |  |  | Times
r. | Max Resistance at 20 °C of Conductor | [5 empty] | Ω/km
| Note [1]: | Conductor Temperature not in Excess of 90°C at 100% Load Factor and at an Ambient Temperature of 45°C

## LV_Turnkey
`
LOW VOLTAGE CABLE AND CONDUCTOR
FORM PD-LV Cable & Con
Oct.2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Power Cable and Control Cable |  | Power Cable | Control Cable |  | Twisted Pair Control Cable
- Manufacturer
- Country
- Applied Standards
*in case of other, please specify in the box below :
b. | Lighting cable (THW and/or NYY) |  | THW (IEC01) |  | NYY
- Manufacturer
- Country
- Applied Standards
*in case of other, please specify in the box below :
c. | Annealed Copper Ground Wire
- Manufacturer
- Country
- Applied Standards
*in case of other, please specify in the box below :
d. | Overhead Ground Wire
- Manufacturer
- Country
- Applied Standards
*in case of other, please specify in the box below :
e. | Aluminum Conductor
- Manufacturer
- Country
- Applied Standards
*in case of other, please specify in the box below :
| Note: Routine tests and/or Quality Conformance Tests are required for equipment in a, b, and c. | [6 empty] | << optional in case of tests are required
conforming with EGAT requirement (TIS11-2559)
Other
conforming with EGAT requirement (TIS838-2531)
Other
conforming with EGAT requirement (TIS11-2553)
Other
conforming with EGAT requirement (ASTM B231, ASTM B232)
Other
conforming with EGAT requirement (ASTM B3, ASTM B8)
Other
conforming with EGAT requirement (ASTM A363)
Other

## FloodLED
LED FLOOD LIGHTING FIXTURE
FORM PD 611.1(L)
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Applied Standards
b. | Lighting Fixture
- Manufacturer / Country
- Type / Model / Cat. No.
- Material
- Housing
- Front Cover
- Mounting Bracket
- Degree of protection
| - Dimension (approx.) |  |  |  | mm
| - Weight (approx.) |  |  |  | kg
c. | LED
| - Power |  |  |  | W
- Color Rendering Index (CRI)
| - Correlated Color Temperature (CCT) |  |  |  | K
d. | Driver
| - Rated Voltage / Frequency / Watt |  |  |  | V/Hz/W
| - Power Factor |  |  |  | %
e. | Luminaire Efficacy |  |  |  | lm/W
f. | Service Life |  |  |  | h

## StreetLED
LED STREET LIGHTING FIXTURE
FORM PD 612.2(L)
Aug.2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Applied Standards
b. | Lighting Fixture
- Manufacturer / Country
- Type / Model / Cat. No.
- Material
- Housing
- Front Cover
- Degree of protection
| - Dimension (approx.) |  |  | mm
| - Weight (approx.) |  |  | kg
c. | LED
| - Power |  |  | W
- Color Rendering Index (CRI)
| - Correlated Color Temperature (CCT) |  |  | K
d. | Driver
| - Rated Voltage / Frequency / Watt |  |  | V/Hz/W
| - Power Factor |  |  | %
e. | Luminaire Efficacy |  |  | lm/W
f. | Service Life |  |  | h

## Lamp post
TAPERED GALVANIZED STEEL LAMP POST
FORM PD 611.1
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Manufacturer / Country
- Fabrication
- Hot Dip Galvanizing
b. | Applied Standards
- Structural Steel
- Anchor Bolt and Nut
- Washer
- Hot Dip Galvanizing

## Al tube
ALUMINUM TUBE, CONNECTOR AND MISCELLANEOUS HARDWARE
FORM PD-AB20
Aug. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  | SCHEDULE NO.
BIDDER |  | ITEM NO.
a. | Aluminum Tube
- Manufacturer / Country
- Applied Standards
- Aluminum Alloy Designation and Temper
b. | 500 kV Compression Connector
- Manufacturer / Country
- Applied Standards
- Aluminum Alloy Designation and Temper
| - Compression Dead End Body |  | Extruded Tube | Casting
| - Compression Terminal Body |  | Extruded Tube | Casting
| - Compression Connector Body |  | Extruded Tube | Casting
c. | 230 kV and below Compression Connector
- Manufacturer / Country
- Applied Standards
- Aluminum Alloy Designation and Temper
| - Compression Dead End Body |  | Extruded Tube | Casting
| - Compression Terminal Body |  | Extruded Tube | Casting
| - Compression Connector Body |  | Extruded Tube | Casting
d. | 500 kV Miscellaneous Hardware
- Manufacturer / Country
e. | 230 kV and below Miscellaneous Hardware
- Manufacturer / Country
Note. Drawings of the following equipment shall be submitted for preliminary consideration. Actual type (such as size, length etc.) shall be submitted for approval after design stage.
- Aluminum Tube - Compression Connector - Miscellaneous Hardware

## BF
BUS FITTING
FORM PD-AB21
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. 500 kV Bus Fitting
Manufacturer / Country
Applied Standards
Aluminum Alloy Designation and Temper
Hardware
- Aluminum
- Bolts Alloy and Temper
- Nuts Alloy and Temper
- Split Lock Washer Alloy and Temper
|  | - Anodic Coating and Lubricate |  | Yes | No
- Stainless Steel
- Bolts Alloy No.
- Nuts Alloy No.
- Flat Washer Alloy No.
- Belleville Washers Alloy No.
b. 230 kV and below Bus Fitting
Manufacturer / Country
Applied Standards
Aluminum Alloy Designation and Temper
Hardware
- Aluminum
- Bolts Alloy and Temper
- Nuts Alloy and Temper
- Split Lock Washer Alloy and Temper
|  | - Anodic Coating and Lubricate |  | Yes | No
- Stainless Steel
- Bolts Alloy No.
- Nuts Alloy No.
- Flat Washer Alloy No.
- Belleville Washers Alloy No.
Note. Drawings of bus fitting shall be submitted for preliminary consideration. Actual type (such as size, length etc.) shall be submitted for approval after design stage.

## GM
GROUNDING MATERIAL
FORM PD AB22
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer / Country
- Ground Rod
- Thermite Welding Material
- Grounding Hardware
- Disconnecting Switch Safety Mat
- Maintenance Grounding Connector and
Guide, Bus Connector, Earthing and
Shorting Circuit Cable (500 kV)
- Grounding Tool Equipment, Portable Ground
Attachment Rod and Clamp (500 kV)
- Portable Temporary Grounding Tools
for Maintenance
b. | Detail of Ground Rod
- Applied Standards
- Material
- Method of Production
|  | - Copper Coating Thickness (min.) |  | mm
Note. Catalog of the following equipment shall be submitted for preliminary consideration. Actual type (such as size, length etc.) shall be submitted for approval after design stage.
- | Ground Rod
- | Thermite Welding Material
- | Grounding Hardware
- | Disconnecting Switch Safety Mat
- | Maintenance Grounding Connector and Guide, Bus Connector, Earthing and Shorting Circuit Cable (500 kV)
- | Grounding Tool Equipment, Portable Ground Attachment Rod and Clamp (500 kV)
- | Portable Temporary Grounding Tools for Maintenance

## MIS
SUBSTATION MISCELLANEOUS
FORM PD AB23
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer / Country
- Rigid Steel Conduit
- Fittings for Rigid Steel Conduit
- HDPE Conduit
- Fittings For HDPE Conduit
- Heat Shrinkable Insulation Material
(For Medium Voltage)
Note. Catalog of the following equipment shall be submitted for preliminary consideration. Actual type (such as size, length etc.) shall be submitted for approval after design stage.
| - | Rigid Steel Conduit and fittings
| - | HDPE Conduit and fittings
| - | Heat Shrinkable Insulation Material

## Cover
Proposal Data |  | Instruction
Cover page |  | Proposal Data
Bidder name: | "Fill in cover page" | Name: | Power Circuit Breaker
Bid No: | "Fill in cover page"
* If more than one type of equipment is proposed per one proposal data, the bidder shall create additional Excel sheets. For example, if two types of auxiliary relays are used, there must be two PD-16 sheets.
**Please fill in blue cell
ตัวอย่าง
|  | No. | Specification Detail | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | วิธีการกรอกข้อมูล | Benmark
|  | a. | Make and country of origin
- Circuit breaker
|  |  | - Make | Digit
|  |  | - Country of origin | Digit
- Steel support structure
|  |  | - Make | Digit
|  |  | - Country of origin | Digit
|  | b. | Type
|  |  | - Interupting Medium (SF6, Vacuum, etc) | Digit
|  |  | - Tripping (Three Poles) | YES NO
|  |  | - Tripping (Single pole & Three poles) | YES NO
|  | f. | Rated voltage
|  |  |  | Digit | kV
|  | s. | Control voltage rating
|  |  | - Normal voltage (From) (min) | Digit | Vdc |  | 10
|  |  | - Normal voltage (From) (max) | Digit | Vdc |  | 20
|  |  | - Normal voltage (To) (min) | Digit | Vdc |  | 30
|  |  | - Normal voltage (To) (max) | Digit | Vdc |  | 40
|  |  | - Operation voltage range (min) | Digit | Vdc |  | 100
|  |  | - Operation voltage range (max) | Digit | Vdc |  | 200
|  | A1 | Tower Type:
|  | A1.1 | DAI
|  | A1.1.1 | Basic Body | Text
|  | A1.1.2 | Body Extension | Text
|  | A1.1.3 | Tower Height (m.) | Digit | m. | Ex. 1 -7
กรณีเป็น Row ที่ Bidder กรอก โดยให้สามารถกรอก Format Type เป็น
- Digit
- Text
- Yes No
*หน่วยงานต้องมีการปรับ Template ให้สอดคล้องกับ Template มาตรฐาน
กรณีที่ต้องการเพิ่มคำอธิบายให้ Bidder
(ถ้ามี)
กรอกค่า Benchmark ที่ต้องการให้ระบบทำการเปรียบเทียบ เมื่อมีการเปิดซองและทำการเปรียบเทียบข้อมูลทางเทคนิค
File Format เพื่อนำเข้าสู่ระบบ Excel
กรอกหัวข้อ

## PD-04 1-1 (T TDR-Oct 2024)
Proposal Data
PD 04 (1/1)
TEMPERATURE TRANSDUCER
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark Spec | Benmark
a. | Country of Origin |  | Text
b. | Applied Standards |  | Text
c. | Type |  | Text
d. | Specify Input RTD Sensor Type | [ ] Cu10 [ ] Pt100
e. | Temperature Range [°C] |  | Digit
f. | Rated Output [mA] |  | Digit
g. | External Load Resistance [kꭥ] |  | Digit
h. | Accuracy [%] |  | Digit
i. | Response Time [sec] |  | Digit
j. | Calibrate Adjustment [%] |  | Digit
k. | Zero Adjustment [%] |  | Digit
**Please fill in blue cell

## PD-16 1-1 (94-Oct 2024)
Proposal Data
PD 16 (1/1)
AUXILIARY TRIPPING RELAYS
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | Benmark
a. | Country of Origin |  | Text
b. | Applied Standards |  | Text
c. | Type |  | Text
d. | Is the Tripping Relay High Burden Type? | [ ] Yes [ ] No | Yes No
e. | Time to Stable Closing [ms] |  | Digit | ms
| Operating Time [ms] |  | Digit | ms
| Bouncing Time [ms] |  | Digit | ms
f. | Output Contacts Rating at 125 VDC
| Make and carry 300V for 3 second [A] |  | Digit | A
| Make and carry 300V continuously [A] |  | Digit | A
| Break for inductive current (L/R £40 ms) [A] |  | Digit | A
g. | DC Voltage Rating [A] |  | Digit | V
| Operative Voltage Range [V] |  | Digit | V
h. | Number of Electrically Separate NO. & CO. Contacts
| Model |  | Text
| -NO |  | Digit
| -CO |  | Digit
| Model |  | Text
| -NO |  | Digit
| -CO |  | Digit
| Model |  | Text
| -NO |  | Digit
| -CO |  | Digit
| Model |  | Text
| -NO |  | Digit
| -CO |  | Digit
**Please fill in blue cell

## PD-18.1 1-1 (C&P PNL-Oct 2024)
Proposal Data | [6 empty] | PANEL ASSEMBLY FOR CONTROL AND PROTECTION SYSTEM
PD 18.1 (1/1)
PANEL ASSEMBLY FOR CONTROL AND PROTECTION SYSTEM | [8 empty] | BIDDER NAME _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ | BID NO. _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
MANUFACTURER_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark | a. | Make and Country of Origin |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
a. | Country of Origin |  | Text |  | b. | Engineering Work |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
[5 empty] | c. | Blank Panel Maker |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
b. | Engineering Work |  | Text |  | [ ] | I certify that the manufacturers specified above are in accordance with the EGAT ACCEPTED MANUFACTURER LIST FOR CONTROL AND PROTECTION PANEL (LOCAL MANUFACTURER).
[5 empty] | d. | Applied Standards
c. | Blank Panel Maker |  | Text |  |  |  | Dielectric withstand | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
|  | [ ] I certify that the manufacturers specified above are in accordance with the EGAT ACCEPTED MANUFACTURER LIST FOR CONTROL AND PROTECTION PANEL (LOCAL MANUFACTURER). |  |  |  |  | Insulation Resistance | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
d. | Applied Standards | [5 empty] | Temperature Range | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - Dielectric withstand |  | Digit |  | e. | Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - Insulation Resistance |  | Digit |  | f. | The thickness of leveled sheet steel and | [ ] Yes | [ ] No
| - Temperature Range [°C] |  | Digit |  |  | formed steel members is not less than 2.5 mm. |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
e. | Type |  | Text |  |  | If no, specify the supporting structure method. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
f. | The thickness of leveled sheet steel and | [ ] Yes [ ] No | Yes No |  | g. | Degree of protection | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| formed steel members is not less than 2.5 mm. |  |  |  | h. | Ambient temperature | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ °C
| If no, specify the supporting structure method. |  | Text |  | i. | Ambient humidity | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ %
g. | Degree of protection |  | Text |  | j. | Terminal Block
h. | Ambient temperature [°C] |  | Digit |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
i. | Ambient humidity [%] |  | Digit |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
j. | Other equipments [Type / Manufacturer] |  |  |  | k. | Miniature Circuit Breaker
| j1. Test switch |  |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For Control and Protection | / | Text |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For Metering | / | Text
| j2. Undervoltage Relay | / | Text |  | l. | Switchboard wire
| j3. Terminal Block |  |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For AC/DC power supply | / | Text |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For PT and control circuits | / | Text
| - For CT circuits | / | Text |  | m. | Test Equipment
| - For Alarm/Status circuits and marshalling cabinet | / | Text |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| j4. Miniature Circuit Breaker | / | Text |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| j5. Switchboard wire | / | Text
[5 empty] | n. | The normal size of drawings. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
k. | Specify type and manufacturer of spectial tool, |  | Text |  |  | If not A1, give reason. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| if needed. |  | Text |  | o. | Specify type and manufacturer of spectial tool, | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
**Please fill in blue cell

## PD-18.2 1-1 (FRS PNL-Oct 2024)
Proposal Data | [6 empty] | PROPOSAL DATA
PD 18.2 (1/1)
PANEL ASSEMBLY FOR FAULT RECORDING SYSTEM | [6 empty] | PANEL ASSEMBLY FOR FAULT RECORDING SYSTEM
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
[12 empty] | BIDDER NAME _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ | BID NO. _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | วิธีการกรอกข้อมูล | Benmark | MANUFACTURER_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
a. | Country of Origin |  | Text |  |  |  | a. | Make and Country of Origin |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
[7 empty] | b. | Engineering Work | (FRS Manufacturer) |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
b. | Engineering Work |  | Text |  |  |  | c. | Blank Panel Maker |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
[7 empty] | d. | Applied Standards
c. | Blank Panel Maker |  | Text | [5 empty] | Dielectric withstand | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
|  | [ ] I certify that the manufacturers specified above are in accordance with the EGAT ACCEPTED MANUFACTURER LIST FOR CONTROL AND PROTECTION PANEL (LOCAL MANUFACTURER). |  |  |  |  | Insulation Resistance | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
d. | Applied Standards | [7 empty] | Temperature Range | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - Dielectric withstand |  | Digit |  |  |  | e. | Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - Insulation Resistance |  | Digit |  |  |  | f. | The thickness of leveled sheet steel and | [ ] Yes | [ ] No
| - Temperature Range [°C] |  | Digit |  |  |  |  | formed steel members is not less than 2.5 mm.
e. | Type |  | Text |  |  |  |  | If no, specify the supporting structure method. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
f. | The thickness of leveled sheet steel and | [ ] Yes [ ] No | Yes No |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| formed steel members is not less than 2.5 mm. | [5 empty] | g. | Degree of protection | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| If no, specify the supporting structure method. |  | Text |  |  |  | h. | Ambient temperature | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ °C
g. | Degree of protection |  | Text |  |  |  | i. | Ambient humidity | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ %
h. | Ambient temperature [°C] |  | Digit | °C |  |  | j. | Terminal Block
i. | Ambient humidity [%] |  | Digit | % |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
j. | Other equipments [Type / Manufacturer] | [6 empty] | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| j1. Test switch | [5 empty] | k. | Miniature Circuit Breaker
| - For Control and Protection | / | Text |  |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For Metering | / | Text
| j2. Undervoltage Relay | / | Text |  |  |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| j3. Terminal Block | [5 empty] | l. | Switchboard wire
| - For AC/DC power supply | / | Text |  |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For PT and control circuits | / | Text
| - For CT circuits | / | Text |  |  |  |  | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| - For Alarm/Status circuits and marshalling cabinet | / | Text |  |  |  | m. | Test Equipment
| j4. Miniature Circuit Breaker | / | Text |  |  |  |  | - Manufacturer | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| j5. Switchboard wire | / | Text
[8 empty] | - Type | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
k. | Specify type and manufacturer of spectial tool, |  | Text |  |  |  | n. | The normal size of drawings. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
| if needed. |  | Text |  |  |  |  | If not A1, give reason. | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
**Please fill in blue cell

## PD-19 1-2 (FRS-Oct 2024)
Proposal Data
PD 19 (1/2)
FAULT RECORDING SYSTEM
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | วิธีการกรอกข้อมูล | Benmark
a. | Country of Origin |  | Text
b. | Type |  | Text
c. | Hardware :
| c1. Type and capacity of hard disk |  | Text
| c2. Easy change every channels between voltage and | [ ] Yes [ ] No | Yes No
current channels
| If No, give detail |  | Text
| c3. Automatically short CT when remove an analog | [ ] Yes [ ] No | Yes No
isolator module
| If No, give detail |  | Text
| c4. Number of bits for A/D converters |  | Digit
| c5. Have history log or SER log for maintenance | [ ] Yes [ ] No | Yes No
| c6. Every digital channel shall be start FRS | [ ] Yes [ ] No | Yes No
independently
| c7. High scan frequency range [Hz] |  | Digit | Hz
| c8. Slow scan frequency range [Hz] |  | Digit | Hz
| c9. Dual scan frequency | [ ] Yes [ ] No | Yes No
| c10. Prefault time [ms] |  | Digit | ms
| c11. Postfault time [ms] |  | Digit | ms
| c12. Event time resolution at least 1 ms | [ ] Yes [ ] No | Yes No
| c13. Total memory > 32 MB for high scan rate | [ ] Yes [ ] No | Yes No
| c14. Maximum duration per record at 30 Hz scan rate [min] |  | Digit | min
| c15. Duration of working (initialization and reset time) |  | Digit | sec
inclusion hardware and software [sec]
| c16. User calculate channel shall be save in | [ ] Yes [ ] No | Yes No
configuration file
| c17. Continuous self diagnostics (watch dog) | [ ] Yes [ ] No | Yes No
| If No, give detail |  | Text
d. | Software :
| d1. Number of levels to security access (For User) |  | Text
Detail
| d2. Open many records simultaneously | [ ] Yes [ ] No | Yes No
| d3. Each channel are displayed on separate axis | [ ] Yes [ ] No | Yes No
| d4. All waveforms shall be moved to any position | [ ] Yes [ ] No | Yes No
| d5. Harmonics order |  | Text
| d6. Backup & restore the record with OS command | [ ] Yes [ ] No | Yes No
(copy & paste)
| If No, give detail |  | Text
| d7. Standard & version of comtrade file |  | Text
| d8. Every line shall be calculate power flow | [ ] Yes [ ] No | Yes No
| d9. Have roll back configuration file when is | [ ] Yes [ ] No | Yes No
communicating (remote failure)
| d10. Have symbolic windows to indicate a status of | [ ] Yes [ ] No | Yes No
communication that is success or not
| d11. Polling period | From ________ to ________ | Digit
| d12. Formula for the channel calculate function |  | Text
| d13. Combining any record in a new file | [ ] Yes [ ] No | Yes No
| d14. Print chart same on the monitor | [ ] Yes [ ] No | Yes No
**Please fill in blue cell

## PD-19 2-2(FRS-Oct 2024)
Proposal Data
PD 19 (2/2)
FAULT RECORDING SYSTEM
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | วิธีการกรอกข้อมูล | Benmark
e. | Sensor :
e1. Have the starting sensor
| - Overcurrent staring sensor | [ ] Yes [ ] No | Yes No
| - Undervoltage staring sensor | [ ] Yes [ ] No | Yes No
| - Frequency staring sensor | [ ] Yes [ ] No | Yes No
| - Negative sequence voltage starting sensor | [ ] Yes [ ] No | Yes No
| - Zero sequence voltage starting sensor | [ ] Yes [ ] No | Yes No
| - Power swing starting sensor | [ ] Yes [ ] No | Yes No
| - External start | [ ] Yes [ ] No | Yes No
| e2. Sensor limit operating time [ms] |  | Digit | ms
f. | Front Panel :
| Have a keyboard on front panel to set the FRS | [ ] Yes [ ] No | Yes No
| If No, give detail |  | Text
g. | Panel Assembly :
| Manufacturer |  | Text
Country of Origin
h. | Spare parts :
List of all recommended spare parts :
|  | 1. | Text
|  | 2. | Text
|  | 3. | Text
|  | 4. | Text
|  | 5. | Text
|  | 6. | Text
i. | Service
| i1. Startup with manufacturer’s supervisor | [ ] Yes [ ] No | Yes No
i2. Service maintenance
| - Response time of the after sale service [Days] |  | Digit | Days
| - Service respresentative in Thailand | [ ] Yes [ ] No | Yes No
| i3. 2 years warranty period | [ ] Yes [ ] No | Yes No
**Please fill in blue cell

## PD-20 1-1 (CO-Oct 2024)
Proposal Data
PD 20 (1/1)
CONTROL AND INSTRUMENT SWITCHES
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | Benmark
a. | Country of Origin |  | Text
b. | Applied Standards |  | Text
c. | Rated Voltage [V] |  | Digit | V
d. | Breaker Control Switches
| - Type |  | Text
| - Color of Handle |  | Text
| - Contact Rating Continuous [A] |  | Digit | A
| - Is Mechanical Target Provided to Show | [ ] Yes [ ] No | Yes No
the Last Function of the Switch?
e. | Motor-operated Disconnects
| - Type |  | Text
| - Color of Handle |  | Text
| - Contact Rating Continuous [A] |  | Digit | A
| - Is Mechanical Target Provided to Show | [ ] Yes [ ] No | Yes No
the Last Function of the Switch?
f. | Synchronizing Switches
| - Type |  | Text
| - Color of Handle |  | Text
| - Specify Whether the Handle is | [ ] Yes [ ] No | Yes No
Removable in "OFF" Position Only
g. | Recloser Cutoff Switches
| - Type |  | Text
| - Color of Handle |  | Text
h. | Trip transfer Switches
| - Type |  | Text
| - Color of Handle |  | Text
i. | Voltmeter Selector Switches
| - Type |  | Text
| - Color of Handle |  | Text
j. | Differential Cutoff Switches
| - Type |  | Text
| - Color of Handle |  | Text
k. | Breaker Failure Cutoff Switches
| - Type |  | Text
| - Color of Handle |  | Text
l. | Direct Transfer Trip Cutoff Switches
| - Type |  | Text
| - Color of Handle |  | Text
m. | Permissive Transfer Trip Cutoff Switches
| - Type |  | Text
| - Color of Handle |  | Text
**Please fill in blue cell

## PD-24 1-1 (OFC-Oct 2024)
Proposal Data
PD 24 (1/1)
OPTIC FIBER CABLE
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | G.652 | OM3
a. | [ ] Single-mode optical fiber |  |  |  | G.655 | OM4
| 1. Country of origin |  | Text |  |  | OM5
| 2. OFC type |  | Text
| 3. ITU-T Recommendation |  | Text |  | IEC 60793-2-10
| 4. Maximum tensile strength [kg] |  | Digit | kg | ITU-T G.651
| 5. Outside diameter [mm] |  | Digit | mm | TIA-568.3D
| 6. Maximum weights [kg/km] |  | Digit | kg/km
| 7. Bending radius [mm] |  | Digit | mm
| 8. Optic Fiber Attenuation @ 1310 nm [dB/km] |  | Digit | db/km
| 9. Optic Fiber Attenuation @ 1550 nm [dB/km] |  | Digit | db/km
| 10. Dispersion coefficient @ 1310 nm [ps/(nm.km)] |  | Digit | ps/(nm.km)
| 11. Dispersion coefficient @ 1550 nm [ps/(nm.km)] |  | Digit | ps/(nm.km)
12. Maximum splicing loss per point
| - OFC with OPGW [dB] |  | Digit | dB
| - OFC with pigtails [dB] |  | Digit | dB
| 13. Number of fibers [cores] |  | Digit | core
| 14. Mode field diameter [mm] |  | Digit | mm
| 15. Cladding diameter [mm] |  | Digit | mm
| 16. Mode field concentricity error [mm] |  | Digit | mm
b. | [ ] Multi-mode optical fiber
1 Optical fiber
| 1.1 Type |  | Text
| 1.2 Standard references |  | Text
| 1.3 Maximum attenuation coefficient at 850 nm [dB/km] |  | Digit
| 1.4 Maximum attenuation coefficient at 1,300 nm [dB/km] |  | Digit
2 Indoor-outdoor cables
| 2.1 Maximum tensile load [N] |  | Digit
| 2.2 Bending radius |  | Digit
| 2.3 Number of fibers [cores] |  | Digit
| 2.4 Outer sheath material |  | Text
3.Patch cords
| 3.1 Length [m] |  | Digit
| 3.2 Connector type |  | Text
**Please fill in blue cell

## PD-27 1-2 (MU-Oct 2024)
Proposal Data
PD 27 (1/2)
MERGING UNIT
General
Bidder name
Bid no.
Manufacturer
Country of origin
Model Type
| Bill of Materials's ordering no. |  | Ordering n*
A | Control and Protection function
| Type |  | Quantity
| VMU | Voltage Input
| AMU | Current Input
| DMU | Binary Input
| DMU | Binary Output
| CMU | DC mA Input
B | Communication
| Description |  | IED data
| IEC 61850 |  | [ ] Edition 1 [ ] Edition 2 [ ] Edition 2.1
| Process bus port | Quantity
Redundancy PRP
Connector type
Wavelength
| Configuration port | Quantity
Connector type
| SV | IEC 61850-9-2LE | [ ] Yes _____ samples per cycle [ ] No
|  | IEC 61869-9 | [ ] Yes [ ] No
| GOOSE |  | [ ] Yes [ ] No
| MMS |  | [ ] Yes [ ] No
C | Time Synchronization
| Topic | IED data
| Precision Time Protocol (PTP) | [ ] Yes [ ] No
| PTP profile | [ ] IEEE C37.238 [ ] IEC 61850-9-3
| Clock type | [ ] transparent clock [ ] ordinary clock (slave only) [ ] ordinary clock (master-capable) [ ] Boundary clock
*The bidder shall create an Excel sheet (PD 27) based on the number of MU orderings proposed in the project.
**Please fill in blue cell

## PD-27 2-2 (MU-Oct 2024)
Proposal Data
PD 27 (2/2)
MERGING UNIT
General
Bidder name
Bid no.
Manufacturer
Country of origin
Model Type
| Bill of Materials's ordering no. |  | Ordering n*
D | Hardware
| Rating |  | IED data
| Current Inputs | Quantity
Nominal Current (A)
Accuracy Class
Processing Delay Time (ms)
Burden In (VA)
| Voltage Inputs | Quantity
Nominal Voltage (V)
Accuracy Class
Processing Delay Time (ms)
Burden Vn (VA)
| Output Contact | Make and carry 300V for 1 second (A)
Make and carry 300V continuously (A)
Break for inductive current (L/R < 40 ms) (A)
Operating Time (ms)
Bouncing Time (ms)
| Current Inputs (Transducer) | Nominal Current (A)
Accuracy range
Watchdog
| Power supply | IED data
125 VDC nominal
Operating range
| Operating Environment | IED data
Operating environment Temperature
*The bidder shall create an Excel sheet (PD 27) based on the number of MU orderings proposed in the project.
**Please fill in blue cell

## PD-28 1-1 (MU PNL-Oct 2024)
Proposal Data
PD 28 (1/1)
OUTDOOR MERGING UNIT CUBICLE ASSEMBLY
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | หน่วย | Benmark
a. | Country of Origin |  | Text
b. | Engineering Work |  | Text
c. | Blank Panel Maker |  | Text
d. | Panel Dimension (Width x Depth x Height) [mm x mm x mm] |  | Digit | mm x mm x mm
e. | Sheet Steel Thickness [mm] |  | Digit | mm
f. | Degree of Protection |  | Text
g. | Operating Environment
| - Temperature Range [°C] |  | Digit
| - Humidity Range [%] |  | Digit
h. | Cooling/Environment Conditioner System Requirement | [ ] Yes : _(Please Give Details)_ | Yes No
[ ] No
j. | Other equipments [Type / Manufacturer]
| j1. Test switch | / | Text
| j2. Undervoltage Relay | / | Text
j3. Terminal Block
| - For AC/DC power supply | / | Text
| - For PT and control circuits | / | Text
| - For CT circuits | / | Text
| - For Alarm/Status circuits and marshalling cabinet | / | Text
| j4. Miniature Circuit Breaker | / | Text
**Please fill in blue cell

## PD-29 1-2 (Com set-Oct 2024)
Proposal Data
PD 29 (1/2)
COMPUTER SET
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
No. | Specification Detail |  |  | Data |  |  |  |  | Benmark
a. | Computer Set for HMI server
a1. Workstation
- Quantity
- Main Processor Performance
- Memory (RAM)
- Storage
- Number of Network Ports
- Computer Operating System
- Power Supply
a2. Inverter Power Supply (if any)
- Model Type/Manufacturer
- Rated Power
- Voltage Input
- Voltage Output
a3. Display Monitor
- Model Type/Manufacturer
- Quantity
- Size
- Resolution
a4. Mouse
- Model Type/Manufacturer
- Quantity
a5. Keyboard
- Model Type/Manufacturer
- Quantity
a6. Speaker
- Model Type/Manufacturer
- Quantity
a7. List of Supervisory Software
| No. | Software | Version | Description | Minimum Requirement
[5 empty] | Operating System | CPU | RAM | Storage
1
2
3
4
5
**Please fill in blue cell

## PD-29 2-2 (Com set-Oct 2024)
Proposal Data
PD 29 (2/2)
COMPUTER SET
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
No. | Specification Detail |  |  | Data |  |  |  |  | Benmark
b. | Computer Set for Engineering Workstation
b1. Device properties
- Main Processor Performance
- Memory (RAM)
- Storage
- Number of Network Ports
- Computer Operating System
- Power Supply
b2. Display Monitor
- Model Type/Manufacturer
- Quantity
- Size
- Resolution
b3. Mouse
- Model Type/Manufacturer
- Amount
b4. Keyboard
- Model Type/Manufacturer
- Quantity
b5. List of Supervisory Software / System Configuration Software
| No. | Software | Version | Description | Minimum Requirement
[5 empty] | Operating System | CPU | RAM | Storage
1
2
3
4
5
6
7
8
9
10
**Please fill in blue cell

## PD-30 1-1 (SI-Oct 2024)
Proposal Data
PD 30 (1/1)
SYSTEM INTEGRATOR FOR DIGITAL SUBSTATION
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail |  | Data |  |  | Benmark
a. | Name of System Integrator/ Country |  | /
b. | Experience with Digital Substation [years]
c. | Project References
| No. | Name of Project / Country | Voltage Level | Commissioning Date | Scope of Work
|  |  |  | (ex.20xx-20xx) | (ex.New Substation, Substation Expansion with Conventional Control and Protection, New fully Digital substation with process bus, Substation Expansion with NCIT, etc.)
**Please fill in blue cell

## PD-32 1-2 (C&P-Oct 2024)
Proposal Data
PD 32 (1/2)
CONTROL AND PROTECTION IED
General
Bidder name
Bid no.
Manufacturer
Country of origin
Model Type
| Type of protection/control unit |  | Type n*
A | Control and Protection function
IED must be able to perform all proposed functions at the same time
| Class | Function | Quantity
| Protection | 87B
87L
87C
87K
21
67N
67/67N
81U
27SD
51/51G, 51T/51TG, 51S/51SG, 51C/51CG
51GB1
51GB2
51OL
50BF
79
25
59N
60C
60CH,CL
59C
27C
87R
51R/51RG
24
| Control | Breaker
DS
Transformer
| Note | Quantity: number of function block available
B | Communication
| Description |  | IED data
| IEC 61850 |  | [ ] ed.1 [ ] ed.2 [ ] ed.2.1
| Process bus port | Quantity
Redundancy PRP
Connector type
Wavelength
| Configuration port | Quantity
Connector type
| SV | IEC 61850-9-2LE | [ ] Yes _____ samples per cycle [ ] No
|  | IEC 61869-9 | [ ] Yes [ ] No
| GOOSE |  | [ ] Yes [ ] No
| MMS |  | [ ] Yes [ ] No
*The bidder shall create an Excel sheet (PD 32) based on the number of IED types (such as mutifunction relays and BCUs) proposed in the project.
**Please fill in blue cell

## PD-32 2-2 (C&P-Oct 2024)
Proposal Data
PD 32 (2/2)
CONTROL AND PROTECTION IED
General
Bidder name
Bid no.
Manufacturer
Country of origin
Model Type
| Type of protection/control unit |  | Type n*
C | Time Synchronization
| Topic | IED data
| Precision Time Protocol (PTP) | [ ] Yes [ ] No
| PTP profile | [ ] IEEE C37.238 [ ] IEC61850-9-3
| Clock type | [ ] transparent clock [ ] ordinary clock (slave only) [ ] ordinary clock (master-capable) [ ] Boundary clock
D | Hardware
| I/O type | Quantity
Binary input
Binary output
Analog input (transducer)
Watchdog
| Output Contact Rating at 125VDC |  | IED data
Make and carry 300V for 3 seconds (A)
Binary Make and carry 300V continuously (A)
Break for inductive current (L/R <40 ms) (A)
Opreating Time (ms)
Bouncing Time (ms)
Maximum SV received
| SV stream |  | *1 SV stream including 4V and 4I as described in IEC61850-9-2LE
| Power supply | Yes/No
125 VDC
Operating range
Current Rating
| Current Rating | [ ] 1A only [ ] 5A only [ ] settable 1 or 5A
E1 Converter (If any)
Manufacturer / Type
*The bidder shall create an Excel sheet (PD 32) based on the number of IED types (such as mutifunction relays and BCUs) proposed in the project.
**Please fill in blue cell

## PD-33 1-1 (ESW-Oct 2024)
Proposal Data
PD 33 (1/1)
ETHERNET SWITCH & SFP MODULE
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
Panel No :
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Ethernet Switch
| a1. Country of origin |  | Text
| a2. Model Type |  | Text
a3. Power Supply
| - Voltage Input [VDC] |  | Digit
| - Redundancy | [ ] Yes [ ] No | Yes No
a4. Operating Environment
| - Temperature Range [°C] |  | Digit
| - Humidity Range [%] |  | Digit
a5. Communication Features
| - Layer of LAN Switch |  | Digit
| - Speed Bandwidth [Mbps] |  | Digit
a6. Communication ports
| - Number of RJ45 ports |  | Digit
| - Number of GE (1000Base FX) ports |  | Digit
| - Number of FE/GE (100/1000Base FX) ports |  | Digit
a7. Protocol Standards
| - IEEE 802.3x: Flow control | [ ] Yes [ ] No | Yes No
| - IEEE 802.3ad: Link aggregation | [ ] Yes [ ] No | Yes No
| - IEEE 802.1p: Quality of Service (QoS) | [ ] Yes [ ] No | Yes No
| - IEEE 802.1Q: VLAN (Virtual LAN) | [ ] Yes [ ] No | Yes No
| - IEC 61850 GOOSE messaging and SV supported | [ ] Yes [ ] No | Yes No
a8. Switching properties
| - Switching latency [ms @ 100Mbit/s] |  | Digit
| - MAC address table size |  | Digit
a9. Time synchronization protocol
| - Boundary Clock | [ ] Yes [ ] No | Yes No
| - Transparent Clock | [ ] Yes [ ] No | Yes No
| a10. RSTP (Rapid Spanning Tree Protocol) | [ ] Yes [ ] No | Yes No
| a11. MRP (Media Redundancy Protocol) | [ ] Yes [ ] No | Yes No
b. | SFP Module for backbone
| b1. Model Type |  | Text
| b2. Bandwidth [Mbps] |  | Digit
| b3. Connector Type |  | Text
| b4. Fiber Optic Type |  | Text
| b5. Wavelength [nm] |  | Digit
c. | SFP Module for IED connections
| c1. Model Type |  | Text
| c2. Bandwidth [Mbps] |  | Digit
| c3. Connector Type |  | Text
| c4. Fiber Optic Type |  | Text
| c5. Wavelength [nm] |  | Digit
d. | SFP Module for IED connections (If any)
| d1. Model Type |  | Text
| d2. Bandwidth [Mbps] |  | Digit
| d3. Connector Type |  | Text
| d4. Fiber Optic Type |  | Text
| d5. Wavelength [nm] |  | Digit
**Please fill in blue cell

## PD-34 1-1 (FDU-Oct 2024)
Proposal Data
PD 34 (1/1)
FIBER OPTIC DISTRIBUTION UNIT
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
Panel No :
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Country of origin |  | Text
b. | Model Type |  | Text
c. | Installation | [ ] rack type
[ ] wall mounted
[ ] _ _ _ _ _ _ _ _ _
d. | Dimension (Width x Depth x Height) [mm x mm x mm] |  | Digit
e. | Total of Capability [cores] |  | Digit
f. | Connector type (Snap plate) |  | Text
**Please fill in blue cell

## PD-35 1-1 (Gateway-Oct 2024)
Proposal Data
PD 35 (1/1)
SUBSTATION GATEWAY
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Country of Origin |  | Text
b. | Model Type |  | Text
c. | Power Supply |  | Text
d. | Operating Environment
| - Temperature Range [°C] |  | Digit
| - Humidity Range [%] |  | Digit
e. | Communication to IEDs
| - Protocol |  | Text
| - Number of ports |  | Text
| - Redundancy |  | Text
- Number of IED supported [IEDs]
f. | Communication to Control Centers
| - Protocol |  | Text
| - Number of ports |  | Digit
| - Number of clients supported [clients] |  | Digit
g. | Number of Information Object Address (IOA) supported [points] |  | Digit
h. | Number of binary inputs |  | Digit
i. | Capable of GOOSE publishing | [ ] Yes [ ] No | Yes No
j. | Alarm group | [ ] Yes [ ] No | Yes No
k. | Scanning Period [ms] |  | Digit
l. | Rebound |  | Text
**Please fill in blue cell

## PD-36 1-1 (GPS-Oct 2024)
Proposal Data
PD 36 (1/1)
GPS
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Country of Origin |  | Text
b. | Model Type |  | Text
c. | Power Supply
| - Voltage Input [VDC] |  | Digit
| - Redundancy | [ ] Yes [ ] No | Yes No
d. | Operating environment temperature
| - For instrument |  | Text
| - For antenna |  | Text
e. | Clock Output Protocol |  | Digit
f. | Number of ports |  | Digit
- Supported PRP and SNTP/NTP Protocol [ports]
- Supported PRP and PTP Protocol [ports]
g. | Time accuracy [ns] |  | Digit
h. | Maximum length of coaxial cable to remain the above time accuracy [m] |  | Digit
**Please fill in blue cell

## PD-37 1-1 (Redbox-Oct 2024)
Proposal Data
PD 37 (1/1)
REDUNDANCY BOX
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Country of Origin |  | Text
b. | Model Type |  | Text
c. | Power Supply |  | Text
d. | Operating Environment
| d1. Temperature Range [°C] |  | Digit | °C
| d2. Humidity Range [%] |  | Digit | %
e. | Network connected port
| e1.Number of ports |  | Digit
| e2. Bandwidth [Mbps] |  | Digit | Mbps
| e3. Connector Type |  | Text
| e4. Fiber Optic Type |  | Text
| e5. Wavelength [nm] |  | Digit | nm
f. | IED/computer connected port
| f1.Number of ports |  | Digit
| f2. Bandwidth [Mbps] |  | Digit | Mbps
| f3. Connector Type |  | Text
| f4. Fiber Optic Type |  | Text
| f5. Wavelength [nm] |  | Digit | nm
**Please fill in blue cell

## PD-38 1-1 (Meter-Oct 2024)
Proposal Data
PD 38 (1/1)
ENERGY METER
Bidder name: | "Fill in cover page"
Bid No: | "Fill in cover page"
Manufacturer:
No. | Specification Detail | Data | Format Type ที่ต้องให้ Bidder กรอก | Benmark
a. | Country of Origin |  | Text
b. | Model Type |  | Text
b. | Auxiliary Power Supply Input [VDC] |  | Text
c. | Support Parallel Redundancy Protocol (PRP) | [ ] Yes [ ] No | Yes No
d. | Number of ports
| d1. Optical type [ports] |  | Digit | ports
| d2. RS-485 type [ports] |  | Digit | ports
| d3. Ethernet type [ports] |  | Digit | ports
e. | Accuracy class |  | Text
**Please fill in blue cell

## FM-POW-P01
Please fill out and Return with your propasal | [5 empty] | Format Type ที่ต้องให้ Bidder กรอก | Benmark
48VDC LOAD CENTER |  |  | PROCUREMENT REFERENCE : |  |  | Text
|  |  | SCHEDULE NO. : |  |  | Text
|  |  | ITEM NO. : |  |  | Text
|  |  | BIDDER : |  |  | Text
General Characteristic
a. | Make and Country of Origin |  | _____________________________________ |  |  | Text
b. | Model No. |  | _____________________________________ |  |  | Text
c. | Load Center Type |  |  | □ Type 1 □ Type 2 |  | Select
d. | Applied Standards |  | _____________________________________ |  |  | Text
e. | Applied Charger Capacity for Load Center |  |  | □ 75A □ 100A □ 150A |  | Select
□ 200A □ 300A □ Other______A
f. | Terminal Block
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Terminal Block Withstand Current Rating | _____________________________________ |  | A | Digit
g. | Main Busbar
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Busbar Current Rating | _____________________________________ |  | A | Digit
|  | - Cross-Section Dimension of Busbar | _____________________________________ |  | mm x mm | Digit
h. | Rated Voltage |  |  | □ 48V □ Other______V |  | Select
i. | 1-Pole 16A Branch Breaker
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Quantity of Breaker | _____________________________________ |  | EA | Digit
|  | - Trip Rating / Max Voltage | _____________________________________ |  | A / V | Digit
|  | - Frame Rating | _____________________________________ |  | A | Digit
|  | - Interrupting Rating | _____________________________________ |  | kA | Digit
j. | 1-Pole 32A Branch Breaker
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Quantity of Breaker | _____________________________________ |  | EA | Digit
|  | - Trip Rating / Max Voltage | _____________________________________ |  | A / V | Digit
|  | - Frame Rating | _____________________________________ |  | A | Digit
|  | - Interrupting Rating | _____________________________________ |  | kA | Digit
k. | 1-Pole 63A Branch Breaker
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Quantity of Breaker | _____________________________________ |  | EA | Digit
|  | - Trip Rating / Max Voltage | _____________________________________ |  | A / V | Digit
|  | - Frame Rating | _____________________________________ |  | A | Digit
|  | - Interrupting Rating | _____________________________________ |  | kA | Digit
l. | Motor operator
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Rated control voltage | _____________________________________ |  | V | Digit
m. | 3-Pole Circuit breaker
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Rated current | _____________________________________ |  | A / V | Digit
|  | - Frame Rating | _____________________________________ |  | A | Digit
n. | Ammeter (0 – 300) A for load current |  |  | □ Yes □ Other_________________ |  | Select
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Accuracy Class | _____________________________________ |  |  | Digit
|  | - Full scale Deflection Angle | _____________________________________ |  | Degree | Digit
o. | Ammeter (-300) - (0) – (+300) A for battery charge/ |  |  | □ Yes □ Other_________________ |  | Select
discharge current
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Accuracy Class | _____________________________________ |  |  | Digit
|  | - Full scale Deflection Angle | _____________________________________ |  | Degree | Digit
p. | Voltmeter (0 – 100) V |  |  | □ Yes □ Other_________________ |  | Select
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Accuracy Class | _____________________________________ |  |  | Digit
|  | - Full scale Deflection Angle | _____________________________________ |  | Degree | Digit
q. | Shunt Resistor
|  | - Brand / Model | _____________________________________ |  |  | Text
|  | - Class | _____________________________________ |  |  | Digit
|  | - Ratio | _____________________________________ |  | A / mV | Digit
r. | Cabinet dimension (WxDxH) |  | _____________________________________ |  | mm x mm x mm | Digit
s. | Electro Galvanized Sheet Steel Thickness (Cubicle) |  | _____________________________________ |  | mm | Digit
t. | Color |  |  | □ RAL 7036 □ Other___________ |  | Select
u. | Total Weight |  | _____________________________________ |  | kg | Digit
v. | Floor Load |  | _____________________________________ |  | kg/sq.m | Digit

## FM-POW-P02
PLEASE FILL OUT AND RETURN WITH YOUR PROPOSAL | [6 empty] | Format Type ที่ต้องให้ Bidder กรอก | Benmark
|  | PROCUREMENT REFERENCE : |  |  |  |  | Text
48 VDC VENTED STATIONARY LEAD-ACID BATTERY |  | SCHEDULE NO. : |  |  |  |  | Text
|  | ITEM NO. : |  |  |  |  | Text
|  | BIDDER : |  |  |  |  | Text
1. | Make and Country of Origin | _____________________________ |  |  |  |  | Text
2. | Model | _____________________________ |  |  |  |  | Text
3. | Capacity at 10 hr. rated 1.80 VPC. 25o C | _____________________________ |  |  |  | Ah | Digit
4. | Type
| - Vented Stationary Lead-Acid type |  | [ ] | Yes | [ ] No |  | Yes No
5. | Codes and standards |  | [ ] | IEEE | [ ] ASTM |  | Select
|  |  | [ ] | IEC | [ ] NEMA
|  |  | [ ] | ANSI | [ ] DIN
|  |  | [ ] | ASME | [ ] JIS
[ ] _______
6. | Battery Configuration
| - Number of cell per set | _____________________________ |  |  |  | Cell | Digit
Technical requirement for Battery (24 cells)
1. | Nominal voltage | _____________________________ |  |  |  | V | Digit
2. | Current capacity | _____________________________ |  |  |  | Ah | Digit
3. | Discharge characteristic | 43.2V of final voltage based on a _______ hour discharge rate |  |  |  |  | Digit
4. | Battery life at 20 Co | _____________________________ |  |  |  | years | Digit
5. | Manufacturing age | No longer than _______ months since the manufacturing date |  |  |  |  | Digit
6. | Temperature | _____________________________ |  |  |  | Co | Digit
7. | Relative humidity | _____________________________ |  |  |  | % | Digit
8. | Self-discharge rate (per month) | _____________________________ |  |  |  | % | Digit
Technical requirement for Cell
1. | Volt per cell | _____________________________ |  |  |  | V | Digit
2. | Discharge characteristic | Final voltage of 1.8 V based on an _______ hours discharge rate |  |  |  |  | Digit
3. | Component
| - Positive plate shall be Tubular type |  | [ ] | Yes | [ ] No |  | Yes No
| - Negative plate shall be Pasted/Flat type |  | [ ] | Yes | [ ] No |  | Yes No
| - Lead antimony plate |  | [ ] | Yes | [ ] No |  | Yes No
4. | Container and cover
| - The container and cover of each cell shall be made of ABS. |  | [ ] | Yes | [ ] No |  | Yes No
| - Container and cover shall have inherent acid-resisting, |  | [ ] | Yes | [ ] No |  | Yes No
shock-absorbing, heat-resisting , acid leak-proof qualification.
5. | Electrolyte
| - A dilute translucent sulfuric acid shall be used as an electrolyte. The substance shall conform to the ITSI standard and it shall be free from organic, iron, platinum and other impurities that may be harmful to the battery life. |  | [ ] | Yes | [ ] No |  | Yes No
| - The specific gravity | _____________________________
| - 10% of the total volume of tropical electrolyte provided in the contract shall be spared as an extra and it shall, as well, conform to the ITSI standard. |  | [ ] | Yes | [ ] No |  | Yes No
| - The containers of electrolyte provided for EGAT shall be newly made and they shall conform to the ITSI standard. |  | [ ] | Yes | [ ] No |  | Yes No
6. | Connector
| - Shall be flexible lead or copper material with insulation sheath covered. |  | [ ] | Yes | [ ] No |  | Yes No
7. | Bolts, nuts and washers
| - Made of metal with acid-resisting and rust-free qualification. |  | [ ] | Yes | [ ] No |  | Yes No
8. | Bus cover and terminal
| - Shall be electrical insulator. |  | [ ] | Yes | [ ] No |  | Yes No
9. | Cell numbering label
| - The running cell numbering label shall be specified |  | [ ] | Yes | [ ] No |  | Yes No
in sequence, i.e. 1, 2, 3 … 24.
10. | Spare accessories
Shall be required to supply extra accessories as follows
| - 4 sets of inter-cell connector and 1 set of inter-step connector |  | [ ] | Yes | [ ] No |  | Yes No
| - 2 sets of bolts, nuts and washers |  | [ ] | Yes | [ ] No |  | Yes No
| - 2 sets of bus cover and terminal. |  | [ ] | Yes | [ ] No |  | Yes No
Technical requirement for battery rack
1. | Rack structure
| - Shall be made of steel material with 2-step structure. |  | [ ] | Yes | [ ] No |  | Yes No
| - The rail of each row shall be covered with hard rubber |  | [ ] | Yes | [ ] No |  | Yes No
sheet in order to prevent any damages on the battery cell.
2. | Color
| - Shall be painted with acid resistant gray color RAL7036 |  | [ ] | Yes | [ ] No |  | Yes No
with double coating procedure.
Accessories and maintenance tools
1. | Rod type thermometer | _____________________________ |  |  |  | sets | Digit
2. | Syringe type hydrometer | _____________________________ |  |  |  | sets | Digit
3. | Acid jug | _____________________________ |  |  |  | each | Digit
4. | Filling funnel | _____________________________ |  |  |  | each | Digit
5. | Non-oxide grease | _____________________________ |  |  |  | can | Digit
6. | Filling syringe | _____________________________ |  |  |  | each | Digit
7. | Acid-resistance glove | _____________________________ |  |  |  | pairs | Digit
8. | Installation, Operation and Maintenance Manual | _____________________________ |  |  |  | set | Digit
9. | AC/DC Clamp Meter | _____________________________ |  |  |  | set | Digit
10. | Maintenance tool box to accommodate the above accessories | _____________________________ |  |  |  | boxes | Digit
Other
1. | Float charging voltage applied per cell | _____________________________ |  |  |  | V | Digit
2. | Equalize charging voltage applied per cell | _____________________________ |  |  |  | V | Digit
3. | Battery cells :
| - Dimension | __________L__________W__________H |  |  |  | mm | Digit
| - Weight | _____________________________ |  |  |  | kg | Digit
4. | Battery rack :
| - Dimension | __________L__________W__________H |  |  |  | mm | Digit
| - Weight | _____________________________ |  |  |  | kg | Digit
| - Arrangement of modules equipped in a rack | _______________Row______________Tier |  |  |  |  | Digit
| - Floor loading | _____________________________ |  |  |  | kg/sq.mm | Digit

## FM-POW-P03
PLEASE FILL OUT AND RETURN WITH YOUR PROPOSAL | [6 empty] | Format Type ที่ต้องให้ Bidder กรอก | Benmark
|  |  | PROCUREMENT REFERENCE : |  |  |  | Text
48VDC CONVENTIONAL TYPE CHARGER |  |  | SCHEDULE NO. |  |  |  | Text
|  |  | ITEM NO. |  |  |  | Text
|  |  | BIDDER : |  |  |  | Text
a. | Make and Country of Origin | _____________________________ |  |  |  |  | Text
b. | Type |  | [ ] | Constant voltage, Silicon control rectifier, |  |  | Select
Current limit type with isolate transfomer
|  |  | [ ] | Other _____________________
c. | Model/Cat. No. | _____________________________ |  |  |  |  | Text
d. | Applied standard | _____________________________ |  |  |  |  | Text
e. | AC input
| - No. of phase | _____________________________ |  |  |  | Phase | Digit
| - Voltage range (line to line) | _____________________________ |  |  |  | V | Digit
| - Maximum current per phase | _____________________________ |  |  |  | A | Digit
| - Line frequency range | _____________________________ |  |  |  | Hz | Digit
| - Protection |  | [ ] | Transient voltage protection, The maximum |  |  | Select
current @ 8/20 µs not less than 15 kA.(MOV)
|  |  | [ ] | Circuit breaker with thermal magnetic trip
|  |  | [ ] | Other _____________________
f. | DC output
| - Rate current | _____________________________ |  |  |  | A | Digit
| - Protection |  | [ ] | Transient voltage protection, The maximum |  |  | Select
current @ 8/20 µs not less than 15 kA.(MOV)
|  |  | [ ] | Circuit breaker with thermal magnetic trip
|  |  | [ ] | Current limited at 110% of rated output current
|  |  | [ ] | Other _____________________
| - DC output voltage | _____________________________ |  |  |  | V | Digit
| - Ripple voltage output | _____________________________ |  |  |  | % | Digit
| - Voltage regulation | _____________________________ |  |  |  | % | Digit
g. | Efficiency at full load | _____________________________ |  |  |  | % | Digit
h. | Powerf factor at fulload | _____________________________ |  |  |  | % | Digit
i. | Allowable mimimum battery voltage before charge | _____________________________ |  |  |  | V | Digit
j. | Float voltage adjustment range | ______________to_____________ |  |  |  | V | Digit
k. | Equalizing voltage adjustment range | ______________to_____________ |  |  |  | V | Digit
l. | Ambient temperature | _____________________________ |  |  |  | Co | Digit
m. | Relative humidity | _____________________________ |  |  |  | % | Digit
n. | Parallel operation permission |  | [ ] | Yes | [ ] No |  | Yes No
o. | Cooling method |  | [ ] | Fan | [ ] Natural |  | Select
p. | DC output metering |  | [ ] | Digital | [ ] Analog |  | Select
| - Class | _____________________________ |  |  |  |  | Digit
q. | Alarm function |  | [ ] | Loss of AC input alarm |  |  | Select
|  |  | [ ] | Charge fail alarm |  |  | Select
|  |  | [ ] | Low voltage alarm | (47 V; Range ………………V) |  | Select and Digit
|  |  | [ ] | High voltage alarm | (57 V; Range ………………V) |  | Select and Digit
|  |  | [ ] | Low Battery alarm | (43.2 V; Range ………...…V) |  | Select and Digit
|  |  | [ ] | Common alarm |  |  | Select
|  |  | [ ] | Other _____________________ |  |  | Select
r. | Management |  | [ ] | Float-Equalize charge. |  |  | Select
|  |  | [ ] | Other _____________________ |  |  | Select
s. | Monitoring point |  | [ ] | Alarm |  |  | Select
|  |  | [ ] | Charge mode |  |  | Select
|  |  | [ ] | Current and Voltage from charge's front panel. |  |  | Select
|  |  | [ ] | Other _____________________ |  |  | Select
t. | Storage | _____________________________ |  |  |  | event | Digit
u. | Dimension
| - Length | _____________________________ |  |  |  | mm | Digit
| - Width | _____________________________ |  |  |  | mm | Digit
| - Height | _____________________________ |  |  |  | mm | Digit
v. | Weight | _____________________________ |  |  |  | kg | Digit
w. | Floor loading | _____________________________ |  |  |  | kg/sq m | Digit
x. | Ingress protection (IP) Class | _____________________________ |  |  |  |  | Digit

## FM-FOT-P13
PLEASE FILL OUT AND RETURN WITH YOUR PROPOSAL | [6 empty] | Format Type ที่ต้องให้ Bidder กรอก | Benmark
Optical Fiber Cable (OFC) |  |  |  | Bidder : |  |  | Text
PROPOSAL DATA |  |  |  | Item No. : |  |  | Text
1. | Brand/Model |  | _________________________________ |  |  |  | Text
2. | Make and country of origin |  | _________________________________ |  |  |  | Text
3. | OFC Type |  |  | [ ] | Single Sheath Non-metallic |  | Select
|  |  |  | [ ] | Double Sheath Non-metallic
4. | ITU-T Recommendation |  |  | [ ] | G.652C [ ] G.652D |  | Select
5. | Optical fiber characteristics
| - Profile of optical fiber |  |  | [ ] | Single mode stepped index |  | Select
| - Number of optical fibers |  | __________________ |  |  | core | Digit
| - Mode field diameter @ 1310 nm |  | __________________ |  |  | µm | Digit
| - Cladding diameter |  | __________________ |  |  | µm | Digit
| - Mode field concentricity error |  | __________________ |  |  | µm | Digit
| - Cladding noncircularity |  | __________________ |  |  | % | Digit
| - Cable cut-off wavelength |  | __________________ |  |  | nm | Digit
| - Proof stress |  | __________________ |  |  | GPa | Digit
- Chromatic dispersion coefficient
|  | @ wavelength 1310 nm | __________________ |  |  | ps/(nm·km) | Digit
|  | @ wavelength 1550 nm | __________________ |  |  | ps/(nm·km) | Digit
- Attenuation coefficient
|  | @ wavelength 1310 nm | __________________ |  |  | dB/km | Digit
|  | @ wavelength 1550 nm | __________________ |  |  | dB/km | Digit
| - Polarization mode dispersion coefficient |  | __________________ |  |  | ps/√km | Digit
| - Normal operating temperature |  | __________________ |  |  | °C | Digit
7. | Mechanical properties
| - Allowable tension |  | __________________ |  |  | kg | Digit
| - Bending radius |  | __________________ |  |  | mm | Digit
| - Overall Diameter |  | __________________ |  |  | mm | Digit
| - Weight |  | __________________ |  |  | kg/km | Digit
| - Splice loss |  |  | [ ] | shall not be more than 0.07 dB |  | Select

## FM-FOT-P15
Please fill out and return with your proposal
for Schedule AB35 |  |  |  | Format Type ที่ต้องให้ Bidder กรอก | Benmark
Joint box ,Fiberframe Termination Cabinet,Insulator |  | Bidder : |  | Text
PROPOSAL DATA
Joint Box | Item No. |  |  | Text
| Capacity conform to fiber core | [ ] confirm [ ] not confirm |  | Select
| Max. closure splice capacity |  | cores | Digit
| Max.Number of tray per closure |  | tray | Digit
| Splice capacity per tray |  | cores | Digit
| Type of Material of closure |  |  | Text
| Reinforcement sleeve for each core | [ ] confirm [ ] not confirm |  | Select
| Brand/Model |  |  | Text
| Make and Country of origin |  |  | Text
Fiberframe Termination Cabinet | Item No. |  |  | Text
| Capacity conform to fiber core in one subrack | [ ] confirm [ ] not confirm | [ ] not confirm | Select
| Max.of capacity per subrack |  | cores | Digit
| Number of subrack |  | subrack | Digit
| Total of capacity |  | cores | Digit
FC Through connector type with
| phospher bronze sleeve | [ ] yes [ ] no |  | Yes No
| Subrack type | [ ] Sliding drawer |  | Select
[ ] …………….
| Heat shrink splice protector | [ ] confirm [ ] not confirm |  | Select
| Brand/Model |  |  | Text
| Make and Country of origin |  |  | Text
Insulator | Item No.
| Cataloque supplied | [ ] confirm [ ] not confirm
Brand/Model
Make and Country of origin